## APPENDIX 2: Guidance Notes for Completing the Personal Emergency Evacuation Plan (PEEP)

- Type of assistance required

The circumstances of escape are considered to be exceptional, that means solutions that may not be appropriate in most circumstances could be used in an evacuation and the aim is to enable an individual to leave the building by their own efforts if possible.  This reduces the chance of confusion and the chance of the plan breaking down.  In these instances the person may rest along the way in refuges wherever possible.  The use of evacuation chairs should be considered as a last resort.

People who choose an independent method of escape are likely to move slowly down the stairs and it may be better for them to wait for the main flow of people to leave the building.

NOTE: All escape stairs in Walton Street council buildings are in a fire-resistant shaft and safe for a minimum of 60 minutes.

- Awareness of Procedure

Record how an individual will be made aware of emergency, e.g. existing alarm, visual alarm system, pager or other means.

- Designated Assistance

May need to include:

- Arrangements for meeting buddy or those offering assistance;

- Arrangements for checking that staff trained in the use of the evacuation chair are available at work location e.g. telephone from Reception before going onto floor above Mezzanine floors for Corporate buildings (e.g. NCO and Wycombe Area Office);

- Arrangements for when designated assistance is not available e.g.

- Evacuation chair operators located on higher floors could be used;

- Use facilities on the ground floor;

- Working from home;

- Contact Manager to resolve the problem.

NOTE: in Walton Street council offices, evacuation chair trained staff who are not evacuating a person on their own floor are asked to check lift lobbies on their way out for any other staff requiring assistance.

- Methods of Assistance

Outline the assistance which will be provided, e.g. buddy, pager, and evacuation chair.

- Evacuation Procedure

A step by step description beginning from the first alarm including where appropriate:

- A reminder to notify Security if an assisted evacuation is taking place; (Aylesbury complex  from a phone 01296 387777 or 777 from Lync and Wycombe Area Office only 5555). Please note emergency procedures signs displayed for other premises.

- Waiting for main flow to pass before commencing evacuation chair evacuation;

- When other floors/buildings are visited, checks must be made for the same arrangement;

- Arrangements must also cover lunchtime, beginning and end of day, out of hours working if relevant.

- Evacuation plans should be practised on a regular basis and at least once every six months. All the people involved in the escape plan should take part; except where

- The procedure involves the use of an evacuation chair then the practice does not need to include the disabled person, although some may wish to practise being moved in the evacuation chair.  It is more appropriate for the people who are trained to operate the evacuation chair to take it in turns during practices rather than involve the disabled person.  Using an evacuation chair may put the disabled person at risk from injury, so it is best to limit their use by disabled people to the real thing.

- Where a disabled person has elected to make an exceptional effort to get out unaided, it is not practical for them to practise; however, practising and timing a short section of the escape will help in establishing how long a full escape might take.

- Safe Route

All stairways have minimum of half hour fire and smoke protection, which should give staff with mobility problems sufficient time to evacuate safely.  It may not be appropriate for people who need assistance to evacuate the building to go to the assembly point so an alternative can be agreed e.g. ground floor of the nearest unaffected building, a suitable means of communication should be available at the location.

- Equipment Provided

Equipment could include evacuation chair, additional handrails, vibrating/visual alarms, hoists.

Any testing, fault reporting and maintenance arrangements for the equipment should be recorded.

- Other issues 
May need to include car parking arrangement - provision of car parking for Blue Card Holders as per Buckinghamshire Council policy.

Further guidance is available from Government Guidance –

Fire Risk Assessment Means of Escape for Disabled People